## Sheet1
| COVID-19 Test Summary Sheet | This information has been provided by the applicable vendor(s) and MMCAP Infuse has not reviewed the accuracy or validity of the information. Users are purchasing at their own risk. |  | Last Updated: March 25, 2021
Vendor | Contract Number | Ordering Information | Test Type | Manufacturer | Description/Packaging detail (UOM) | Cost | FDA Status as of 4/21/2021 | CLIA Status | Special Ordering Considerations
Henry Schein Medical | MMS18016 | Tyler Brown (423) 321-9876 tyler.brown@henryschein.com | Molecular/PCR | Mesa Biotech Item No: 138-2283 | Accula SARS-CoV-2 Test 25/box | $1,250.00/bx ($50/test) | EUA | Authorized laboratories - certified under the Clinical Laboratory Improvement Amendments of 1988 (CLIA), 42 U.S.C. §263a, to perform high and moderately complex tests. Other Authorized Locations - patient care settings using the Accula Dock or Silaris Dock. | Requires docking station that will perform 3000 tests before replacement
Henry Schein Medical | MMS18016 | Tyler Brown (423) 321-9876 tyler.brown@henryschein.com | PCR Analyzer | Mesa Biotech | Accula Dock Ea | 129 | 510k |  | Analyzer/dock for the Accula PCR Test
Henry Schein Medical | MMS18016 | Tyler Brown (423) 321-9876 tyler.brown@henryschein.com | Rapid Antigen | Quidel | QuickVue SARS Antigen Test Kit 25/Bx, 10 BX/CA | $125/bx (5.00/test) | EUA | Authorized Laboratories based off of EUA: Laboratories certified under the Clinical Laboratory Improvement Amendments of 1988 (CLIA), 42 U.S.C. § 263a, that meet the requirements to perform high, moderate, or waived complexity tests. This test is authorized for use at the Point of Care (POC), i.e., in patient care settings operating under a CLIA certificate of Waiver, Certificate of Compliance or Certificate of Accreditation.
Henry Schein Medical |  | Tyler Brown (423) 321-9876 tyler.brown@henryschein.com | Rapid Antigen OTC | Quidel | QuickVue SARS OTC Antigen Test Kit 2/Bx, 45 BX/CA | $19.75/bx ($9.88/test) | EUA |  | OTC Product for at home testing
Henry Schein Medical |  | Tyler Brown (423) 321-9876 tyler.brown@henryschein.com | Rapid Antigen OTC | Quidel | QuickVue SARS OTC Antigen Test Kit 25/Bx, 10 BX/CA | $257.99/bx ($10.32/test) | EUA |  | OTC Product for at home testing
Henry Schein Medical | MMS18016 | Tyler Brown (423) 321-9876 tyler.brown@henryschein.com | Antigen | Quidel Item No: 138-3310 | Sofia 2 Sars Antigen Test 25/box | $350.00 ($14/test) | EUA | Authorized Laboratories based off of EUA: Laboratories certified under the Clinical Laboratory Improvement Amendments of 1988 (CLIA), 42 U.S.C. § 263a, that meet the requirements to perform high, moderate, or waived complexity tests. This test is authorized for use at the Point of Care (POC), i.e., in patient care settings operating under a CLIA certificate of Waiver, Certificate of Compliance or Certificate of Accreditation. | Requires a Sofia 2 Instrument under a 36 month agreement Or purchase of analyzer at $1200.00
Henry Schein Medical | MMS18016 | Tyler Brown (423) 321-9876 tyler.brown@henryschein.com | Antigen | Quidel Item No: 138-9834 | Sofia SARS/Influenza Combo 25/box | $550.00/25 tests ($22/test) | EUA | Authorized Laboratories based off of EUA: Laboratories certified under the Clinical Laboratory Improvement Amendments of 1988 (CLIA), 42 U.S.C. § 263a, that meet the requirements to perform high, moderate, or waived complexity tests. This test is authorized for use at the Point of Care (POC), i.e., in patient care settings operating under a CLIA certificate of Waiver, Certificate of Compliance or Certificate of Accreditation. | Requires a Sofia 2 Instrument under a 36 month agreement Or purchase of analyzer at $1200.00
Henry Schein Medical | MMS18016 | Tyler Brown (423) 321-9876 tyler.brown@henryschein.com | Rapid Antigen | Quidel | Sofia Influenza A&B Test Kit CLIA Waived 25/Bx | $297/bx ($11.88/test) | 510K | Waived | Requires purchase of Sofia 2 Analyzer or 36mo commitment
Henry Schein Medical | MMS18016 | Tyler Brown (423) 321-9876 tyler.brown@henryschein.com | Rapid Antigen | Quidel | Sofia Strep A+ Waived 25/Bx, 12 BX/CA | $81.25/bx ($3.25/test) | 510K | Waived | Requires purchase of Sofia 2 Analyzer or 36mo commitment
Henry Schein Medical | MMS18016 | Tyler Brown (423) 321-9876 tyler.brown@henryschein.com | Analyzer | Quidel | Sofia 2 Analyzer Ea | 1200 |  | N/A | Purchase or free placement for 36mo commitment
Henry Schein Medical | MMS18016 | Tyler Brown (423) 321-9876 tyler.brown@henryschein.com | Rapid Antigen | BD | BD Veritor SARS-CoV Test Kit 30/Bx | $370.49/bx ($12.35/test) | EUA | Authorized Laboratories based off of EUA: Laboratories certified under the Clinical Laboratory Improvement Amendments of 1988 (CLIA), 42 U.S.C. § 263a, that meet the requirements to perform high, moderate, or waived complexity tests. This test is authorized for use at the Point of Care (POC), i.e., in patient care settings operating under a CLIA certificate of Waiver, Certificate of Compliance or Certificate of Accreditation. | Requires BD Veritor Analyzer. Buy 2 boxes get analyzer free promo thru 12-31-21
Henry Schein Medical | MMS18017 | Tyler Brown (423) 321-9876 tyler.brown@henryschein.com | Rapid Antigen | BD | BD Veritor SARS-CoV/Flu A+B Triplex Test | $659.70/bx ($21.99/test | EUA | Authorized Laboratories based off of EUA: Laboratories certified under the Clinical Laboratory Improvement Amendments of 1988 (CLIA), 42 U.S.C. § 263a, that meet the requirements to perform high, moderate, or waived complexity tests. This test is authorized for use at the Point of Care (POC), i.e., in patient care settings operating under a CLIA certificate of Waiver, Certificate of Compliance or Certificate of Accreditation. | Requires BD Veritor Analyzer. Buy 2 boxes get analyzer free promo thru 12-31-22
Henry Schein Medical | MMS18016 | Tyler Brown (423) 321-9876 tyler.brown@henryschein.com | Analyzer | BD | Veritor Plus Analyzer - DS DropShip Ea | 284.99 | 510K | N/A | Analyzer for the BD Veritor Test
Henry Schein Medical | MMS18016 | Tyler Brown (423) 321-9876 tyler.brown@henryschein.com | Rapid Antigen | Abbott | BinaxNOW COVID-19 Ag Test Kit 40/Bx | $260/bx ($6.50/test) | EUA | Authorized Laboratories based off of EUA: Laboratories certified under the Clinical Laboratory Improvement Amendments of 1988 (CLIA), 42 U.S.C. § 263a, that meet the requirements to perform high, moderate, or waived complexity tests. This test is authorized for use at the Point of Care (POC), i.e., in patient care settings operating under a CLIA certificate of Waiver, Certificate of Compliance or Certificate of Accreditation.
Henry Schein Medical | MMS18016 | Tyler Brown (423) 321-9876 tyler.brown@henryschein.com | Rapid Antigen OTC | Abbott | BinaxNOW COVID-19 Ag OTC Test Kit 2 test 6/bx | $125.99/bx ($10.50/test) | EUA |  | OTC Test for At Home Use
Henry Schein Medical | MMS18016 | Tyler Brown (423) 321-9876 tyler.brown@henryschein.com | Antibody | Diabetomics CoVAB Screen Detects neutralizing antibodies aka vaccine effecacy. No fingerstick. | COVID-19 IgG/IgM Rapid Test Cassette 50/bx | $650.00/50 tests | EUA | Authorized laboratories - certified under the Clinical Laboratory Improvement Amendments of 1988 (CLIA), 42 U.S.C. §263a, to SERUM/PLASMA under high and moderately complexity. Fingerstick whole blood sampling under CLIA Waived. | EUA CLIA Waived on Saliva Sampling Controls Item No. 140-8050 $187.49/box
Henry Schein Medical | MMS18016 | Tyler Brown (423) 321-9876 tyler.brown@henryschein.com | Antibody | Premier Biotech Item No. 139-7131 | COVID-19 IgG/IgM Rapid Test Cassette | $135.59/20 tests | EUA | Authorized laboratories - certified under the Clinical Laboratory Improvement Amendments of 1988 (CLIA), 42 U.S.C. §263a, to perform high and moderately complex tests. | EUA CLIA Waived on FingerStick sampling. Controls Item No. 138-5357 $64.99/box
Henry Schein Medical | MMS18016 | Tyler Brown (423) 321-9876 tyler.brown@henryschein.com | Molecular/PCR | Cue Health - Item No. 138-7511 | Cue Covid 19 Test 10/bx | $650.00/10 test | EUA | Authorized Laboratories based off of EUA: Laboratories certified under the Clinical Laboratory Improvement Amendments of 1988 (CLIA), 42 U.S.C. § 263a, that meet the requirements to perform high, moderate, or waived complexity tests. This test is authorized for use at the Point of Care (POC), i.e., in patient care settings operating under a CLIA certificate of Waiver, Certificate of Compliance or Certificate of Accreditation. | Requires Cue Reader - Item no. 138-7509 $400. ea. and QC - Item no. 138-7516 $175.00 per bx *Cue app supports test processing via an Apple device.
Henry Schein Medical | MMS18016 | Tyler Brown (423) 321-9876 tyler.brown@henryschein.com | Molecular/ Isothermal | Abbott Rapid Diagnostics Item No: 137-8949 | ID Now Covid 19 Test 24/box | $984.00/24 test | EUA | Authorized Laboratories based off of EUA: Laboratories certified under the Clinical Laboratory Improvement Amendments of 1988 (CLIA), 42 U.S.C. § 263a, that meet the requirements to perform high, moderate, or waived complexity tests. This test is authorized for use at the Point of Care (POC), i.e., in patient care settings operating under a CLIA certificate of Waiver, Certificate of Compliance or Certificate of Accreditation. | Requires IDNow instrument and monthly tests allocation approval from manufacturer. Contractual agreement needed.
Henry Schein Medical | MMS18016 | Tyler Brown (423) 321-9876 tyler.brown@henryschein.com | Molecular/PCR | Cepheid - Item No. 141-0461 | XPERT XPRESS 4 Plex SARS COV2/FLU/RSV 10/box | $680.00/10 test | EUA | Authorized Laboratories - laboratories certified under the Clinical laboratory Improvement Amendments of 1988 (CLIA), 42 U>S>C. §263a, to perform high and moderate complexity tests. Other Authorized Testing Locations - Patient care settings | For Use with GeneXpert Express Dx or GeneXpert Infinity Systems. Contractual agreement needed.
Henry Schein Medical | MMS18016 | Tyler Brown (423) 321-9876 tyler.brown@henryschein.com | Rapid Antigen | Quidel | Sofia Strep A+ Waived 25/Bx, 12 BX/CA | $81.25/bx ($3.25/test) | 510K | Waived | Requires purchase of Sofia 2 Analyzer or 36mo commitment
Henry Schein Medical | MMS18016 | Tyler Brown (423) 321-9876 tyler.brown@henryschein.com | Analyzer | Quidel | Veritor Plus Analyzer - DS DropShip Ea | 284.99 | 510K | N/A | Analyzer for the BD Veritor Test
Henry Schein Medical | MMS18016 | Tyler Brown (423) 321-9876 tyler.brown@henryschein.com | Rapid Antigen OTC | Siemens | Clinitest Rapid COVID-19 Ag 5/pk 170pk cs | $49.99/pk | EUA |  | OTC Test for At Home Use
Henry Schein Medical | MMS18016 | Tyler Brown (423) 321-9876 tyler.brown@henryschein.com | Rapid Antigen OTC | Acon Labs | FlowFlex COVID-19 Ag Home Test 10/bx 30bx/ca | $89.93/bx | EUA |  | OTC Test for At Home Use. **Volume Discounts Available**
Henry Schein Medical | MMS18016 | Tyler Brown (423) 321-9876 tyler.brown@henryschein.com | Rapid Antigen OTC | Ihealth Inc | iHealth COVID-19 Ag ICO-3000 2/bx 90bx/ca | $17.99/bx | EUA |  | OTC Test for At Home Use
McKesson | MMS18000 | MCK.MMCAP@mcKesson.com Phone: 844-57- MMCAP (6-6227) | Antibody | Premier Biotech Inc - Item No. 1177855 - Mfg Cat CV-AZ19W | Rapid Test, Covid-19 Igg/Igm Cassette (20/Cs) | 236.36 | EUA | Waived | No analyzer required
McKesson | MMS18000 | MCK.MMCAP@mcKesson.com Phone: 844-57- MMCAP (6-6227) | Molecular | Abbott Rapid Dx N America Llc - Item No. 1163344 - Mfg Cat 190000 | Test Kit, Covid-19 Id Now Assay (24tests/Kt) D/S | 1377.26 | EUA | Waived | Must have IDNow Analyzer; requires volume commitment
McKesson | MMS18000 | MCK.MMCAP@mcKesson.com Phone: 844-57- MMCAP (6-6227) | Antigen | Quidel Corp - Item No. 1183198 - Mfg Cat 20387 | Test Kit, Sars Antigen Quickvue W/Nasal Swab (25/Kt 10kt/Cs) | 462.5 | EUA | Waived | No analyzer required
McKesson | MMS18000 | MCK.MMCAP@mcKesson.com Phone: 844-57- MMCAP (6-6227) | Antigen | Bd Primary Care Diagnostics - Item No. 1170197 - Mfg Cat 256082 | Test Kit, Sars-Cov-2 Bd Veritor Rapid Detect (30test/Kt) | 893.7 | EUA | Waived | Must have Veritor Analyzer
McKesson | MMS18000 | MCK.MMCAP@mcKesson.com Phone: 844-57- MMCAP (6-6227) | Antigen | Quidel Corp - Item No. 1166253 - Mfg Cat 20374 | Test Kit, Sofia 2 Sars Antigenfia (25tests/Kt 12kt/Cs) | 6900 | EUA | Waived | Must have Sofia Analyzer; requires volume commitment
McKesson | MMS18000 | MCK.MMCAP@mcKesson.com Phone: 844-57- MMCAP (6-6227) | Antigen | Quidel Corp - Item No. 1177399 - Mfg Cat 20377 | Test Kit, Sofia Flu & Sars Antigen Fia Assy (25/Kt 12kt/Cs) | 875 | EUA | Waived | Must have Sofia Analyzer; requires volume commitment
Medical Solutions | MMS18013 | Dave Delgado (ddelgado@medicalsolutionsinc.com) Lynn Meyers (lmeyers@medicalsolutionsinc.com) | Antigen | GENBODY | GenBody - Covid-19 AG -- Covid-19 Antigen Rapid Test Kit, 25 tests per box | 166.25 | EUA | CLIA WAIVED | Orders are Non-Cancellable; Item is Non-Returnable
Medical Solutions | MMS18013 | Dave Delgado (ddelgado@medicalsolutionsinc.com) Lynn Meyers (lmeyers@medicalsolutionsinc.com) | Antibody | Premier BioTech | COVID-19 IgG/ IgM Rapid Test Cassette | 151.74 | EUA | CLIA WAIVED | Orders are Non-Cancellable; Item is Non-Returnable
Medical Solutions | MMS18013 | Dave Delgado (ddelgado@medicalsolutionsinc.com) Lynn Meyers (lmeyers@medicalsolutionsinc.com) | Antigen | LifeSign | LifeSign COVID-19 FLU A&B Test Kit | 406.25 | EUA | CLIA WAIVED | Orders are Non-Cancellable; Item is Non-Returnable
Medical Solutions | MMS18013 | Dave Delgado (ddelgado@medicalsolutionsinc.com) Lynn Meyers (lmeyers@medicalsolutionsinc.com) | Antigen | QUIDEL | QuickVue At-Home OTC COVID-19, 2 test/kit | 20.73 | EUA | CLIA WAIVED | Orders are Non-Cancellable; Item is Non-Returnable
Medical Solutions | MMS18013 | Dave Delgado (ddelgado@medicalsolutionsinc.com) Lynn Meyers (lmeyers@medicalsolutionsinc.com) | Antigen | QUIDEL | QuickVue At-Home OTC COVID-19, 25 test/kit | 243.9 | EUA | CLIA WAIVED | Orders are Non-Cancellable; Item is Non-Returnable
Medical Solutions | MMS18013 | Dave Delgado (ddelgado@medicalsolutionsinc.com) Lynn Meyers (lmeyers@medicalsolutionsinc.com) | Antibody | CLARITY DIAGNOSTICS | CLARITY COVIBLOCK COVID19 IgG/IgM Antibody Test 20/test/kit | 201.22 | EUA | CLIA WAIVED | Orders are Non-Cancellable; Item is Non-Returnable
Medical Solutions | MMS18013 | Dave Delgado (ddelgado@medicalsolutionsinc.com) Lynn Meyers (lmeyers@medicalsolutionsinc.com) | Antigen | CLARITY DIAGNOSTICS | Clarity COVID19 Antigen Rapid Test Kit contains 25 Tests | 205.79 | EUA | CLIA WAIVED | Orders are Non-Cancellable; Item is Non-Returnable
Medical Solutions | MMS18013 | Dave Delgado (ddelgado@medicalsolutionsinc.com) Lynn Meyers (lmeyers@medicalsolutionsinc.com) | Antigen | ORASURE | InteliSwab™ COVID-19 Swab Test Kit, Antigen OTC, US, 2test/pk, 24pk/bx | 482.93 | EUA | CLIA WAIVED | At-Home Test Kit. Pending approval for children under the age of 15
Medical Solutions | MMS18013 | Dave Delgado (ddelgado@medicalsolutionsinc.com) Lynn Meyers (lmeyers@medicalsolutionsinc.com) | Antigen | ORASURE | InteliSwab™ COVID-19 Kit, 24/bx (Rx) | 321.95 | EUA | CLIA WAIVED | Pending approval for children under the age of 15. Place order to ensure producr availability
Medical Solutions | MMS18013 | Dave Delgado (ddelgado@medicalsolutionsinc.com) Lynn Meyers (lmeyers@medicalsolutionsinc.com) | Antigen | Alere | BinaxNOW™ COVID-19 Ag Card Kit, Professional Use, CLIA Waived, 40 tests/kit (90 Days Dating; Item Non-Returnable) | 273.46 | EUA | CLIA WAIVED | Orders are Non-Cancellable; Item is Non-Returnable
Medical Solutions | MMS18013 | Dave Delgado (ddelgado@medicalsolutionsinc.com) Lynn Meyers (lmeyers@medicalsolutionsinc.com) | Antigen | Alere | BinaxNOW™ COVID-19 AG Card Control Kit, Professional Use, 10 Positive/kit | 82.22 | EUA | CLIA WAIVED | Orders are Non-Cancellable; Item is Non-Returnable
Medical Solutions | MMS18013 | Dave Delgado (ddelgado@medicalsolutionsinc.com) Lynn Meyers (lmeyers@medicalsolutionsinc.com) | Antigen | Alere | BinaxNOW™ COVID-19 Ag, Self Test Kit, PDQ, 2 test/kit, 16 kit/cs | 360.97 | EUA | CLIA WAIVED | Orders are Non-Cancellable; Item is Non-Returnable
Medical Solutions | MMS18013 | Dave Delgado (ddelgado@medicalsolutionsinc.com) Lynn Meyers (lmeyers@medicalsolutionsinc.com) | Antigen | Alere | BinaxNOW™ COVID-19 Ag, Self Test Kit, 2 test/kit, 6 kit/cs | 135.367 | EUA | CLIA WAIVED | Orders are Non-Cancellable; Item is Non-Returnable